## Sheet1
dataPointId | dataPointType | getKey1 | getValue1 | getKey2 | getValue2 | setKey1 | setValue1 | setKey2 | setValue2 | setKey3 | setValue3 | setKey4 | setValue4 | setIsId4 | setKey5 | setValue5 | setIsId5 | setKey6 | setValue6 | setIsId6 | dataPointSourceType | setTransformation | setAlarm | Driver | DriverChannelParameters
123d6188-3068-4c14-a6ca-bd0fe5e30000 | StringInput |  |  |  |  | Level1 | T1 | Level2 | Meter01 | Unit |  | FixedName | Test_event_summary_ack |  | Guid | 123d6188-3068-4c14-a6ca-bd0fe5e30000 | True | Root | my_unique_key | True |  | {"type":"stringbuttons","params":{"stringButtons":[{"value":"OK","text":"OK"},{"value":"ACKNOWLEDGE","text":"ACKNOWLEDGE"}]}}
123d6188-3068-4c14-a6ca-bd0fe5e30001 | AnalogInput |  |  |  |  | Level1 | T1 | Level2 | Meter01 | Unit |  | FixedName | Test_event_summary |  | Guid | 123d6188-3068-4c14-a6ca-bd0fe5e30001 | True | Root | my_unique_key | True
123d6188-3068-4c14-a6ca-bd0fe5e30002 | AnalogInput |  |  |  |  | Level1 | T1 | Level2 | Meter01 | Unit |  | FixedName | Event_summary |  | Guid | 123d6188-3068-4c14-a6ca-bd0fe5e30002 | True | Root | my_unique_key | True
123d6188-3068-4c14-a6ca-bd0fe5e30003 | StringInput |  |  |  |  | Level1 | T1 | Level2 | Meter01 | Unit |  | FixedName | Event_summary_acknowledgment |  | Guid | 123d6188-3068-4c14-a6ca-bd0fe5e30003 | True | Root | my_unique_key | True |  | {"type":"stringbuttons","params":{"stringButtons":[{"value":"OK","text":"OK"},{"value":"ACKNOWLEDGE","text":"ACKNOWLEDGE"}]}}
123d6188-3068-4c14-a6ca-bd0fe5e30004 | AnalogInput |  |  |  |  | Level1 | T1 | Level2 | Meter01 | Unit |  | FixedName | Remote_validation_initialized |  | Guid | 123d6188-3068-4c14-a6ca-bd0fe5e30004 | True | Root | my_unique_key | True
123d6188-3068-4c14-a6ca-bd0fe5e30008 | AnalogInput |  |  |  |  | Level1 | T1 | Level2 | Meter01 | Unit | MW | FixedName | Power_data_telemetered |  | Guid | 123d6188-3068-4c14-a6ca-bd0fe5e30008 | True | Root | my_unique_key | True
123d6188-3068-4c14-a6ca-bd0fe5e30009 | AnalogInput |  |  |  |  | Level1 | T1 | Level2 | Meter01 | Unit | MW | FixedName | Reserve_up_telemetered |  | Guid | 123d6188-3068-4c14-a6ca-bd0fe5e30009 | True | Root | my_unique_key | True
123d6188-3068-4c14-a6ca-bd0fe5e30010 | AnalogInput |  |  |  |  | Level1 | T1 | Level2 | Meter01 | Unit | MW | FixedName | Reserve_down_telemetered |  | Guid | 123d6188-3068-4c14-a6ca-bd0fe5e30010 | True | Root | my_unique_key | True
123d6188-3068-4c14-a6ca-bd0fe5e30011 | AnalogInput |  |  |  |  | Level1 | T1 | Level2 | Meter01 | Unit | MW | FixedName | Auto_reserve_down_telemetered |  | Guid | 123d6188-3068-4c14-a6ca-bd0fe5e30011 | True | Root | my_unique_key | True
123d6188-3068-4c14-a6ca-bd0fe5e30012 | AnalogInput |  |  |  |  | Level1 | T1 | Level2 | Meter01 | Unit |  | FixedName | Reserve_up_activation |  | Guid | 123d6188-3068-4c14-a6ca-bd0fe5e30012 | True | Root | my_unique_key | True |  |  | {"delay":"PT1S","importance":100,"params":{"high_alarm_limit":{"check":"true", "value":0.5},}}
123d6188-3068-4c14-a6ca-bd0fe5e30013 | AnalogInput |  |  |  |  | Level1 | T1 | Level2 | Meter01 | Unit |  | FixedName | Reserve_down_activation |  | Guid | 123d6188-3068-4c14-a6ca-bd0fe5e30013 | True | Root | my_unique_key | True |  |  | {"delay":"PT1S","importance":100,"params":{"high_alarm_limit":{"check":"true", "value":0.5},}}
123d6188-3068-4c14-a6ca-bd0fe5e30014 | AnalogInput |  |  |  |  | Level1 | T1 | Level2 | Meter01 | Unit | MW | FixedName | Current_auxiliary_usage |  | Guid | 123d6188-3068-4c14-a6ca-bd0fe5e30014 | True | Root | my_unique_key | True
123d6188-3068-4c14-a6ca-bd0fe5e30015 | StringInput |  |  |  |  | Level1 | T1 | Level2 | Meter01 | Unit |  | FixedName | Simulation_mode |  | Guid | 123d6188-3068-4c14-a6ca-bd0fe5e30015 | True | Root | my_unique_key | True |  | {"type":"stringbuttons","params":{"stringButtons":[{"value":"YES","text":"YES"},{"value":"NO","text":"NO"}]}} | {"delay":"PT15S","importance":100,"params":{"alarm_states":["YES"]}}
123d6188-3068-4c14-a6ca-bd0fe5e30016 | StringInput |  |  |  |  | Level1 | T1 | Level2 | Meter01 | Unit |  | FixedName | Phone_activation_up |  | Guid | 123d6188-3068-4c14-a6ca-bd0fe5e30016 | True | Root | my_unique_key | True |  | {"type":"stringbuttons","params":{"stringButtons":[{"value":"YES","text":"YES"},{"value":"NO","text":"NO"}]}} | {"delay":"PT15S","importance":100,"params":{"alarm_states":["YES"]}}
123d6188-3068-4c14-a6ca-bd0fe5e30017 | StringInput |  |  |  |  | Level1 | T1 | Level2 | Meter01 | Unit |  | FixedName | Phone_activation_down |  | Guid | 123d6188-3068-4c14-a6ca-bd0fe5e30017 | True | Root | my_unique_key | True |  | {"type":"stringbuttons","params":{"stringButtons":[{"value":"YES","text":"YES"},{"value":"NO","text":"NO"}]}} | {"delay":"PT15S","importance":100,"params":{"alarm_states":["YES"]}}
123d6188-3068-4c14-a6ca-bd0fe5e30018 | AnalogInput |  |  |  |  | Level1 | T1 | Level2 | Meter01 | Unit | MW | FixedName | Power_data_trend_telemetered |  | Guid | 123d6188-3068-4c14-a6ca-bd0fe5e30018 | True | Root | my_unique_key | True
123d6188-3068-4c14-a6ca-bd0fe5e30019 | AnalogInput |  |  |  |  | Level1 | T1 | Level2 | Meter01 | Unit | s | FixedName | Time_to_up_transition_end |  | Guid | 123d6188-3068-4c14-a6ca-bd0fe5e30019 | True | Root | my_unique_key | True
123d6188-3068-4c14-a6ca-bd0fe5e30020 | AnalogInput |  |  |  |  | Level1 | T1 | Level2 | Meter01 | Unit | s | FixedName | Time_to_down_transition_end |  | Guid | 123d6188-3068-4c14-a6ca-bd0fe5e30020 | True | Root | my_unique_key | True
123d6188-3068-4c14-a6ca-bd0fe5e30021 | AnalogInput |  |  |  |  | Level1 | T1 | Level2 | Meter01 | Unit | s | FixedName | Time_to_auto_transition_end |  | Guid | 123d6188-3068-4c14-a6ca-bd0fe5e30021 | True | Root | my_unique_key | True
123d6188-3068-4c14-a6ca-bd0fe5e30023 | AnalogInput |  |  |  |  | Level1 | T1 | Level2 | Meter02 | Unit |  | FixedName | Area01_temperature |  | Guid | 123d6188-3068-4c14-a6ca-bd0fe5e30023 | True | Root | my_unique_key | True |  | {"type":"linear","unit":"°C","decimalPlaces":1,"params":{"k":0.1, "q":0}}
123d6188-3068-4c14-a6ca-bd0fe5e30024 | TimeSpanInputOutput |  |  |  |  | Level1 | T1 | Level2 | Meter02 | Unit |  | FixedName | Reserve_activation_duration |  | Guid | 123d6188-3068-4c14-a6ca-bd0fe5e30024 | True | Root | my_unique_key | True |  | {"type":"timespan","params":{"formatString": "%d/%m/%Y %H:%M:%S.%f"}}
123d6188-3068-4c14-a6ca-bd0fe5e30025 | AnalogInput |  |  |  |  | Level1 | T1 | Level2 | Meter02 | Unit | MW | FixedName | Reserve_up_day_ahead_plan |  | Guid | 123d6188-3068-4c14-a6ca-bd0fe5e30025 | True | Root | my_unique_key | True
123d6188-3068-4c14-a6ca-bd0fe5e30026 | AnalogInput |  |  |  |  | Level1 | T1 | Level2 | Meter02 | Unit | MW | FixedName | Reserve_up_same_day_plan |  | Guid | 123d6188-3068-4c14-a6ca-bd0fe5e30026 | True | Root | my_unique_key | True
123d6188-3068-4c14-a6ca-bd0fe5e30027 | AnalogInput |  |  |  |  | Level1 | T1 | Level2 | Meter02 | Unit | MW | FixedName | Reserve_down_same_day_plan |  | Guid | 123d6188-3068-4c14-a6ca-bd0fe5e30027 | True | Root | my_unique_key | True
123d6188-3068-4c14-a6ca-bd0fe5e30028 | AnalogInput |  |  |  |  | Level1 | T1 | Level2 | Meter02 | Unit | MW | FixedName | Reserve_down_day_ahead_plan |  | Guid | 123d6188-3068-4c14-a6ca-bd0fe5e30028 | True | Root | my_unique_key | True
123d6188-3068-4c14-a6ca-bd0fe5e30029 | AnalogInput |  |  |  |  | Level1 | T1 | Level2 | Meter02 | Unit | MW | FixedName | Auto_reserve_down_plan |  | Guid | 123d6188-3068-4c14-a6ca-bd0fe5e30029 | True | Root | my_unique_key | True
123d6188-3068-4c14-a6ca-bd0fe5e30030 | AnalogInput |  |  |  |  | Level1 | T1 | Level2 | Meter02 | Unit | MW | FixedName | Power_data_plan |  | Guid | 123d6188-3068-4c14-a6ca-bd0fe5e30030 | True | Root | my_unique_key | True
123d6188-3068-4c14-a6ca-bd0fe5e30031 | AnalogInput |  |  |  |  | Level1 | T1 | Level2 | Meter02 | Unit | MW | FixedName | Power_total |  | Guid | 123d6188-3068-4c14-a6ca-bd0fe5e30031 | True | Root | my_unique_key | True
123d6188-3068-4c14-a6ca-bd0fe5e30032 | AnalogInput |  |  |  |  | Level1 | T1 | Level2 | Meter02 | Unit | MW | FixedName | Power_limit_upper |  | Guid | 123d6188-3068-4c14-a6ca-bd0fe5e30032 | True | Root | my_unique_key | True
123d6188-3068-4c14-a6ca-bd0fe5e30033 | AnalogInput |  |  |  |  | Level1 | T1 | Level2 | Meter02 | Unit | MW | FixedName | Power_limit_lower |  | Guid | 123d6188-3068-4c14-a6ca-bd0fe5e30033 | True | Root | my_unique_key | True
123d6188-3068-4c14-a6ca-bd0fe5e30036 | AnalogInput |  |  |  |  | Level1 | T1 | Level2 | Meter02 | Unit | MW | FixedName | Auto_reserve_up_plan |  | Guid | 123d6188-3068-4c14-a6ca-bd0fe5e30036 | True | Root | my_unique_key | True
123d6188-3068-4c14-a6ca-bd0fe5e30037 | AnalogInput |  |  |  |  | Level1 | T1 | Level2 | Meter02 | Unit | MW | FixedName | Auto_reserve_up_telemetered |  | Guid | 123d6188-3068-4c14-a6ca-bd0fe5e30037 | True | Root | my_unique_key | True
123d6188-3068-4c14-a6ca-bd0fe5e30040 | AnalogInput |  |  |  |  | Level1 | T1 | Level2 | Meter02 | Unit |  | FixedName | Comm_status_mms |  | Guid | 123d6188-3068-4c14-a6ca-bd0fe5e30040 | True | Root | my_unique_key | True
123d6188-3068-4c14-a6ca-bd0fe5e30050 | AnalogInput |  |  |  |  | Level1 | T1 | Level2 | Meter02 | Unit | MW | FixedName | Reserve_5min_plan |  | Guid | 123d6188-3068-4c14-a6ca-bd0fe5e30050 | True | Root | my_unique_key | True
123d6188-3068-4c14-a6ca-bd0fe5e30053 | StringInput |  |  |  |  | Level1 | T1 | Level2 | Meter02 | Unit |  | FixedName | Permission_for_control_to_target_setpoint |  | Guid | 123d6188-3068-4c14-a6ca-bd0fe5e30053 | True | Root | my_unique_key | True |  | {"type":"stringbuttons","params":{"stringButtons":[{"value":"YES","text":"YES"},{"value":"NO","text":"NO"}]}}
123d6188-3068-4c14-a6ca-bd0fe5e30054 | AnalogInput |  |  |  |  | Level1 | T1 | Level2 | Meter02 | Unit | MW | FixedName | Reserve_5min_telemetered |  | Guid | 123d6188-3068-4c14-a6ca-bd0fe5e30054 | True | Root | my_unique_key | True
123d6188-3068-4c14-a6ca-bd0fe5e30055 | AnalogInput |  |  |  |  | Level1 | T1 | Level2 | Meter02 | Unit |  | FixedName | Reserve_5min_activation |  | Guid | 123d6188-3068-4c14-a6ca-bd0fe5e30055 | True | Root | my_unique_key | True |  |  | {"delay":"PT1S","importance":100,"params":{ "high_alarm_limit":{"check":"true", "value":0.5},}}
123d6188-3068-4c14-a6ca-bd0fe5e30056 | AnalogInput |  |  |  |  | Level1 | T1 | Level2 | Meter02 | Unit | s | FixedName | Time_to_5min_transition_end |  | Guid | 123d6188-3068-4c14-a6ca-bd0fe5e30056 | True | Root | my_unique_key | True